Basler Stereo Camera STM-501u O técnicamente equivalente

Baseline	50 mm

Shutter	Global Shutter

Resolution (H x V)	1280 px × 800 px

Field of View	90° x 65° ± 3° @ 2m

Depth Accuracy ≤2% @ 2m

Depth image resolution & FPS

1280 × 800 @ 30 fps

848 x 480 @ 60 fps

Measuring Method	Stereo Vision

EGO-motion (IMU)	Unterstützt durch synchronisierte IMU-Daten

Interface	USB 3.0

Camera Data Connector	USB 3.0 Type-C receptacle (lockable)

Working Range	0.26 m - 3 m

Camera I/O Connector	8-pin pin header, single-row, 1.00 mm pitch

Power Supply	5 V DC via USB (requires port supporting 1.5 A)

INCLUIR - Cable USB 3.0, USB‑C‑Lock sl/A, 3m

O técnicamente equivalente  (si indica equivalencia debe indicar claramente el equipo que está ofertando)